## Introduction
| Twende Solar 1339 SE 8th Ave Suite B Portland, OR 97214 +1 503 922 2863 hello@twendesolar.org www.twendesolar.org | PROJECT EVALUATION FORM
Hello, Born from a fierce passion for renewable energy and protecting the world's beloved ecosystems, the employees of Elemental Energy formed Twende Solar: a 501(c)3 non-proﬁt organization dedicated to empowering energy-deﬁcient populations with renewable energy systems. Twende, meaning “let’s go” in Swahili, is indicative of our organization's proactive capabilities and dedication to sustainable development worldwide. Operated and supported by solar PV industry professionals, Twende Solar bridges the gap between renewable energy experts and energy-poor communities. Twende Solar’s impact extends further than designing and installing PV systems: to ensure the longevity and sustainability of the system, Twende educates and trains the local community on how to properly operate and maintain the system. After reading through our "Partnering With Twende" document and learning a bit about who we are and our process, we would like to learn a bit more about your organization, desired outcomes, and electrification needs.
Please use the following instructions and forms to complete this comprehensive remote site assessment. You can download it as a Microsoft Excel document and email it or make a copy, edit with your responses, and share the completed workbook in Google Drive with hello@twendesolar.org. The information you provide will help us better understand your organization and its energy needs to help us determine how to proceed. TO FORMALLY INITIATE A PROJECT REQUEST, QUESTIONS AND COMPLETED EVALUATIONS SHOULD BE SENT TO: hello@twendesolar.org Let's go solar, together! Sincerely, Marissa Johnson, Executive Director

## Organization Information
ORGANIZATION INFORMATION
REQUESTING ORGANIZATION'S NAME:
REQUESTING ORGANIZATION'S WEBSITE:
SOCIAL MEDIA HANDLE:
ADDRESS:
CONTACT PERSON'S NAME AND TITLE:
CONTACT PHONE (INCLUDE COUNTRY CODE):
CONTACT EMAIL:
PROPOSED PROJECT COUNTRY:
GPS LOCATION + ADDRESS OF PROPOSED PROJECT:
NEAREST CITY:
NUMBER OF PEOPLE WHO WILL BENEFIT:
TYPE OF ORGANIZATION: (EDUCATION, HEALTH, COMMUNITY DEVELOPMENT, ETC.)
ORGANIZATION'S MISSION:
ORGANIZATION'S VISION:
IMPACT STATISTICS AND SUCCESS STORIES:
ARE YOU A REGISTERED 501(C)3? (PLEASE INCLUDE FEIN#):
ARE YOU A REGISTERED NGO IN PROJECT COUNTRY?:
WHY SOLAR?:
HOW WILL SOLAR FURTHER YOUR MISSION?:
WHAT SECURITY RISKS EXIST FOR VALUABLE SOLAR EQUIPMENT IN THE REGION?:
WHAT PLANS MIGHT NEED TO BE IN PLACE TO MITIGATE THESE RISKS?:
HAS THE SITE HOSTED VOLUNTEERS?:
HOW DOES THE ORGANIZATION FOSTER A SENSE OF COMMUNITY OWNERSHIP OF THE SITE AND ITS OPERATION?

## Site Information
SITE INFORMATION
ANNUAL ENERGY EXPENDITURES:
IS THE SITE CONNECTED TO LOCAL GRID ELECTRICITY?: (YES/NO + PLEASE DESCRIBE ITS RELIABILITY)
IF YES, CAN YOU "EXPORT" OR SEND ELECTRICITY BACK TO THE GRID?:
CURRENT ENERGY SOURCE: (BATTERIES, CANDLES, KEROSENE, DIESEL, ETC.)
REQUESTED DAYS OF AUTONOMY: (HOW MANY DAYS WOULD THE SYSTEM NEED TO OPERATE WITHOUT SUN)
GENERATOR BACKUP CONNECTION NEEDED?:
HOW FAR AWAY IS THE NEAREST POWER LINE?:
DO YOU EXPECT GRID ELECTRICITY TO COME TO THIS AREA IN THE NEXT 5-10 YEARS?
CAPABLE OF FUTURE UTILITY INTERCONNECTION?
INTERNET ACCESSIBILITY?: (YES / NO)
LOCAL CELLULAR NETWORK PROVIDERS:
IS THERE CELL SERVICE AT THE SITE?:
ESTIMATE TYPICAL DAILY WAGES FOR LOCAL LABORERS, ELECTRICIANS, ROOFERS:
DESCRIBE THE TECHNICAL ABILITIES OF ON-SITE STAFF FOR ONGOING MAINTENANCE:
PLEASE DESCRIBE THE AVAILABILITY OF LOCAL SUPPLIES. LIST ANY MAJOR HARDWARE STORES THAT CARRY ELECTRICAL AND ROOFING TOOLS AND SUPPLIES AS WELL AS THEIR DISTANCE FROM THE SITE:
HAVE YOU IMPORTED SUPPLIES INTO THE COUNTRY? PLEASE DESCRIBE YOUR EXPERIENCE:
ARE THERE LOCAL SOLAR CONTRACTORS:
IF SO, HAVE YOU OBTAINED PROJECT QUOTES FROM THEM?: (IF SO, PLEASE PROVIDE COPIES)
IDEAL TIME OF YEAR FOR INSTALL / SEASONS TO AVOID: (PLEASE DESCRIBE WEATHER)
PLEASE DESCRIBE THE COMMUNITY'S/ORGANIZATION'S ABILITY TO MAKE AND SAVE MONEY FOR ONGOING MAINTENANCE OF SYSTEM AND EVENTUAL BATTERY REPLACEMENT:
ARE THERE EXISTING WIRED OUTLETS AND LIGHT SOCKETS?:
IF NO, WOULD TWENDE SOLAR BE EXPECTED TO DO THIS WIRING?:
WHAT ENERGY EFFICIENCY MEASURES HAVE BEEN TAKEN OR ARE UNDER CONSIDERATION FOR THE SITE?:
ARE ENERGY-EFFICIENT LIGHT BULBS AND APPLIANCES AVAILABLE LOCALLY?: (SEE NOTE ON NEXT TAB REGARDING ENERGY EFFICIENCY IN RELATION TO SOLAR DESIGN)
HOW MUCH MONEY IS CURRENTLY BUDGETED FOR THIS PROJECT?:

## Load Worksheet Explanation
LOAD WORKSHEET EXPLANATION
To accurately assess your energy needs, please record every desired load on the worksheet provided in the following tab. A “load” refers to any device that uses electricity. For each load, you will be asked to provide: • Whether it is an AC (“Alternating Current”) or DC (“Direct Current”) device. If you are unsure, contact us for guidance. • The rated watts of the device. If it is not a readily available ﬁgure as with light bulbs, you may be able to look at a device’s label or look it up by the make/model. If you are still unsure, we have provided some typical examples for reference. • The rated voltage of the device. • How many hours per day and days per week the device is used, on average. For loads like air conditioners and refrigerators, simply provide the device’s rating in watts and we will estimate the daily usage based on typical duty cycles. • Whether the load is run primarily during the day or primarily at night. If it is not predominantly one or the other, select “both.” • Critical load: Mark “Yes” if the device must be connected to electricity at all times. For example, sensitive medical equipment or lights that are critical to safety and security. Additional Information (not required, but helpful) • Historical electricity usage data from a utility, if applicable, should be included. • If providing historical usage, please note any signiﬁcant seasonal changes in energy consumption. • If a generator is being used, an approximation of the amount of fuel consumed each month should be noted.
PLEASE NOTE: It is nearly always more cost-effective to purchase potentially more expensive energy-efficient items (refrigerators, fans, light bulbs) to reduce the total load requirement rather than increasing the size of the solar array and battery bank.

## Load Worksheet
LOAD WORKSHEET | [8 empty] | EXAMPLES -->
[9 empty] | 0 | COMMON ELECTRICAL LOADS
LOAD DESCRIPTION | QUANTITY | AC OR DC | VOLTS | WATTS/LOAD | HOURS/DAY | DAYS/WEEK | DAY / NIGHT USE | CRITICAL LOAD? (IN EMERGENCY MUST THIS LOAD FUNCTION) | TWENDE (WATT HOURS) | These are rough guidelines; device ratings can vary widely from these numbers. It is always preferable to determine your speciﬁc device’s rating from its nameplate.
EXAMPLE: LIGHTS | 35 | AC | 120 | 8 | 4 | 7 | MOSTLY NIGHT | YES | 1120
EXAMPLE: REFRIGERATOR | 1 | AC | 120 | 500 | 8 | 7 | BOTH | NO | 4000 | APPLIANCES | WATTS
[9 empty] | 0 | COFFEE MAKER | 750
[9 empty] | 0 | MICROWAVE | 1250
[9 empty] | 0 | REFRIGERATOR | 100-200
[9 empty] | 0 | ELECTRIC RANGE | 3000
[9 empty] | 0 | DISHWASHER | 1200
[9 empty] | 0 | WASHER | 350
[9 empty] | 0 | ELECTRIC CLOTHES DRYER | 3000
[9 empty] | 0 | GAS HEATED DRYER | 400
[9 empty] | 0 | HAIR DRYER | 1500
[9 empty] | 0 | BLENDER | 300
0
[9 empty] | 0 | LIGHTING | WATTS
[9 empty] | 0 | INCANDESCENT LIGHT BULBS | 75
[9 empty] | 0 | CFL (FLUORESCENT) LIGHT BULBS | 20
[9 empty] | 0 | LED LIGHT BULBS | 6
0
[9 empty] | 0 | TOOLS | WATTS
[9 empty] | 0 | ELECTRIC DRILL | 500
[9 empty] | 0 | VACUUM CLEANER | 1000
[9 empty] | 0 | WELL PUMP (1/3 - 1 HP) | 480-1200
0
[9 empty] | 0 | ENTERTAINMENT | WATTS
[9 empty] | 0 | TV - 25" COLOR | 150
[9 empty] | 0 | TV - 19" COLOR | 70
[9 empty] | 0 | TV - 50" LED | 60
[9 empty] | 0 | DVD PLAYER | 35
[9 empty] | 0 | DESKTOP COMPUTER | 120
[9 empty] | 0 | LAPTOP COMPUTER | 50
[9 empty] | 0 | RADIO | 70
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0

## Site Plan + Dimensions
SITE PLAN + DIMENSIONS
Please attach a site plan drawing to your evaluation showing the existing or proposed buildings on site. Either provide an approximate scale or note the distances between buildings and building footprint dimensions. Solar equipment is heavy and a roof would need to structurally support its weight as well as people walking on the roof during install. Please describe the capability of the roof to support this weight or identify and document a piece of land that a ground mounted structure could be built on. For any potential solar roofs, note the roof type, pitch, and provide as much detail as possible regarding the roof framing structure. If there are rafters, please note their size and spacing. If possible, include the in-plane dimensions of the roof, and note the locations of any roof obstructions such as vents, satellite equipment, skylights, etc. For any potential ground mount sites, note the ground slope angle and cardinal direction (example: sloping upwards towards the north/northeast) as well as the size of the available area, soil description and how rocky it is. On the site plan, please note the locations of the electric panel(s) and any utility or generator interconnection locations. Note any mechanical or equipment rooms which may be ideal for housing a battery system and other electrical equipment.

## Site Photos
SITE PHOTOS
Photos of the project site are invaluable for planning ahead and avoiding unforeseen design or construction obstacles. Below is a list of photos that are necessary to have during the design process. This list is not exhaustive; any other photos that may aid the design process are appreciated (too many photos are better than not enough). References to the locations where the pictures were taken on the site plan are appreciated.
GENERAL SITE PHOTOS
Wide perspective photos for general orientation around the site.
Building exteriors, to help with locating conduit runs and electrical equipment.
Interior photos of existing mechanical/equipment rooms.
PROPOSED SOLAR ROOF
Roof close up photos showing roof material and condition of roof.
Details on any existing roof penetrations and flashings
If accessible, photos of roof framing structure such as rafters, joists, or beams. Description of rafter type, size and spacing is required.
PROPOSED GROUND MOUNT
Wide perspective of site indicating slope
Picture of soil (dig small hole)
Picture from "bottom" of potential site, facing north
SHADING CONCERNS
If there are tall trees or building surrounding site, please provide photos of skyline with directional references and height references
ELECTRICAL SYSTEM (for each electrical panel)
Panel rating
Main breaker rating
Existing and available circuit breaker spaces
Perspective photo showing the area around the panel (entire wall if possible including information on dimensions)
EXISTING GENERATOR (if applicable)
Generator nameplate
Generator interconnection
UTILITY INTERCONNECTION (if applicable)
Utility meter
Service entrance/interconnection location
Electrical bill with all rate information (front and back)

## Pre-Install Preparation
PRE-INSTALL PREPARATION
Certain aspects of the project that can be customized and completed ahead of time make for a very smooth installation and an end product that is seamlessly integrated with the existing structure. Some examples of this include: • Installation of conduit and junction boxes, particularly connecting the electric room and electric panel with the roof. If trenching is required between multiple buildings, buried conduit makes for easy wire pull in the future. • Configuring electric panels ahead of time to include space for solar breakers and easy access for wiring. • Custom battery and equipment housing: On past installations (examples below) we have worked with the client to include a dedicated enclosure as part of the site’s construction, which was tailored to the dimensions and environmental conditions required for the equipment. The advantages here are numerous, including an aesthetically pleasing structure that fits in with the rest of the building, ideal location and ventilation for maintaining proper battery temperature, and perhaps most importantly, the security and safety benefits of keeping the equipment inaccessible to the public and under lock and key. A survey of the site should include an assessment of the potential for implementing any of these time-saving opportunities that result in sleek, integrated designs.
EXAMPLE: CUSTOM EQUIPMENT HOUSING FOR 6 KW OFF-GRID SYSTEM IN MEXICO